Fundamentals of Air Conditioning/Refrigeration	WVEIS 1605

This course introduces the student to the knowledge base and technical skills for all courses in the heating ventilation and air conditioning concentration. Areas of study include mathematical concepts, technical writing skills, technical reading comprehension, career opportunities, personal and equipment safety, fabrication operations, and basic compression refrigeration. Emphasis will be placed on career exploration, job seeking skills, and personal and professional ethics. Safety instruction is integrated into all activities. Students will utilize problem-solving techniques and participate in laboratory activities to develop an understanding of course concepts, and teachers should provide each student with real world learning opportunities and instruction related to air conditioning and refrigeration occupations. Students are encouraged to become active members of SkillsUSA for additional co-curricular opportunities that enhance student achievement, develop student leadership, and support experiential learning. The West Virginia Standards for 21st Century Learning include the following components: 21st Century Content Standards and 21st Century Learning Skills and Technology Tools. All West Virginia teachers are responsible for classroom instruction that integrates learning skills, technology tools, and content standards and objectives.

| Grade 10-Adult | Fundamentals of Air Conditioning/Refrigeration |
| --- | --- |
| Standard: 1 | Career Exploration Opportunities |
| ET.S.FACR.1 | Students will identify, explore, and evaluate career opportunities related to air conditioning and refrigeration. |
| Objectives | Students will |
| ET.O.FACR.1.1 | compare a variety of careers related to air conditioning and refrigeration, and the training necessary to be successful in those careers. |
| ET.O.FACR.1.2 | integrate appropriate attitudes and behaviors required to succeed in careers in the field of air conditioning and refrigeration. |
| ET.O.FACR.1.3 | compile sources of information about careers in air conditioning and refrigeration. |
| Performance Descriptors (ET.PD.FACR.1) |
| Above Mastery | Mastery | Partial Mastery |
| The student demonstrates exceptional and exemplary performance with distinctive and sophisticated application of knowledge and skills that exceed the standard in career exploration opportunities. The student can compare a variety of careers related to air conditioning and refrigeration, and the training necessary to be successful in those careers; integrate appropriate attitudes and behaviors required to succeed in careers in the field of air conditioning and refrigeration; and evaluate sources of information about careers in air conditioning and refrigeration. The student can independently solve problems and is self-directed. | The student demonstrates competent and proficient performance and shows a thorough and effective application of knowledge and skills that meet the standard in career exploration opportunities. The student can categorize a variety of careers related to air conditioning and refrigeration, and the training necessary to be successful in those careers; apply appropriate attitudes and behaviors required to succeed in careers in the field of air conditioning and refrigeration; and compile sources of information about careers in air conditioning and refrigeration. Application of knowledge and skills is thorough and effective, and the student can work independently. | The student demonstrates basic but inconsistent performance of fundamental knowledge and skills characterized by errors and/or omissions in career exploration opportunities. The student can comprehend a variety of careers related to air conditioning and refrigeration, and the training necessary to be successful in those careers; display appropriate attitudes and behaviors required to succeed in careers in the field of air conditioning and refrigeration; and select sources of information about careers in air conditioning and refrigeration. Performance needs further development and supervision. |
| Standard: 2 | Safety Rules and Applications |
| ET.S.FACR.2 | Students will: identify safety practices. demonstrate safety practices. apply safety practices. |
| Objectives | Students will |
| ET.O.FACR.2.1 | integrate general shop safety. |
| ET.O.FACR.2.2 | utilize personal protective equipment. |
| ET.O.FACR.2.3 | choose the correct fire extinguisher for given applications. |
| ET.O.FACR.2.4 | justify safety precautions necessary when using hazardous materials. |
| ET.O.FACR.2.5 | select and use general hand tools. |
| ET.O.FACR.2.6 | select and use test instruments. |
| Performance Descriptors (ET.PD.FACR.2) |
| Above Mastery | Mastery | Partial Mastery |
| The student demonstrates exceptional and exemplary performance with distinctive and sophisticated application of knowledge and skills that exceed the standard in safety rules and applications. The student can appraise general shop safety; assess personal protective equipment; justify the correct fire extinguisher for given applications; justify safety precautions necessary when using hazardous materials; select and use general hand tools; and verify and use test instruments. The student can independently solve problems and is self-directed. | The student demonstrates competent and proficient performance and shows a thorough and effective application of knowledge and skills that meet the standard in safety rules and applications. The student can illustrate general shop safety; utilize personal protective equipment; categorize the correct fire extinguisher for given applications; exhibit safety precautions necessary when using hazardous materials; classify and use general hand tools; and select and use test instruments. Application of knowledge and skills is thorough and effective, and the student can work independently. | The student demonstrates basic but inconsistent performance of fundamental knowledge and skills characterized by errors and/or omissions in safety rules and applications. The student can integrate general shop safety; identify personal protective equipment; choose the correct fire extinguisher for given applications; explain safety precautions necessary when using hazardous materials; select and use general hand tools; and select and use test instruments. Performance needs further development and supervision. |
| Standard: 3 | Fabrication Operations |
| ET.S.FACR.3 | Students will perform fabrication operations with copper, brass, and steel tubing. |
| Objectives | Students will |
| ET.O.FACR.3.1 | categorize hard and soft copper tubing. |
| ET.O.FACR.3.2 | connect a flare joint and a swage joint. |
| ET.O.FACR.3.3 | set up an oxyacetylene welding station, light, and adjust flame. |
| ET.O.FACR.3.4 | solder brass and copper fittings to copper tubing. |
| ET.O.FACR.3.5 | silver braze steel and copper tubing. |
| ET.O.FACR.3.6 | measure, cut, and repair capillary tube. |
| ET.O.FACR.3.7 | bend copper tubing to specific angles. |
| ET.O.FACR.3.8 | select and use specialized tools. |
| Performance Descriptors (ET.PD.FACR.3) |
| Above Mastery | Mastery | Partial Mastery |
| The student demonstrates exceptional and exemplary performance with distinctive and sophisticated application of knowledge and skills that exceed the standard in fabrication operations. The student can appraise hard and soft copper tubing; connect a flare joint and a swage joint with 100% accuracy; set up an oxyacetylene welding station, light, and adjust flame with 100% accuracy; solder brass and copper fittings to copper tubing with 100% accuracy; silver braze steel and copper tubing with 100% accuracy; measure, cut, and repair capillary tubes with 100% accuracy; bend copper tubing to specific angles with 100% accuracy; and appraise and use specialized tools. The student can independently solve problems and is self-directed. | The student demonstrates competent and proficient performance and shows a thorough and effective application of knowledge and skills that meet the standard in fabrication operations. The student can categorize hard and soft copper tubing; connect a flare joint and a swage joint with 85% accuracy; set up an oxyacetylene welding station, light, and adjust flame with 85% accuracy; solder brass and copper fittings to copper tubing; silver braze steel and copper tubing with 85% accuracy; measure, cut, and repair capillary tubes with 85% accuracy; bend copper tubing to specific angles with 85% accuracy; and classify and use specialized tools. Application of knowledge and skills is thorough and effective, and the student can work independently. | The student demonstrates basic but inconsistent performance of fundamental knowledge and skills characterized by errors and/or omissions in fabrication operation. The student can identify hard and soft copper tubing; connect a flare joint and a swage joint with 70% accuracy; set up an oxyacetylene welding station, light, and adjust flame with 70% accuracy; solder brass and copper fittings to copper tubing; silver braze steel and copper tubing with 70% accuracy; measure, cut, and repair capillary tubes with 70% accuracy; bend copper tubing to specific angles with 70% accuracy; and select and use specialized tools. Performance needs further development and supervision. |
| Standard: 4 | Compression Refrigeration |
| ET.S.FACR.4 | Students will demonstrate knowledge and skills needed in compression refrigeration. |
| Objectives | Students will |
| ET.O.FACR.4.1 | locate and label components of compression refrigeration system. |
| ET.O.FACR.4.2 | explain the effect of CFC on ozone atmosphere. |
| ET.O.FACR.4.3 | install access fittings on a hermetic sealed system. |
| ET.O.FACR.4.4 | recover refrigerant, locate and repair leaks, pressurize, leak test, evacuate, and charge refrigerant. |
| ET.O.FACR.4.5 | install manifold gauges on refrigeration systems and use a P/T chart to test compressor operation. |
| ET.O.FACR.4.6 | replace filter driers using flare fittings and sweat fittings, then triple evacuate to eliminate any moisture. |
| ET.O.FACR.4.7 | correlate temperature to pressure. |
| ET.O.FACR.4.8 | identify and integrate use of test instruments. |
| ET.O.FACR.4.9 | identify and integrate use of specialized tools. |
| Performance Descriptors (ET.PD.FACR.4) |
| Above Mastery | Mastery | Partial Mastery |
| The student demonstrates exceptional and exemplary performance with distinctive and sophisticated application of knowledge and skills that exceed the standard in compression refrigeration. The student can appraise and label components of compression refrigeration systems; critique the effect of CFC on ozone atmosphere; install access fittings on a hermetic sealed system with 100% accuracy; recover refrigerant, locate and repair leaks, pressurize, leak test, evacuate, and charge refrigerant with 100% accuracy; install manifold gauges on refrigeration systems and use a P/T chart to test compressor operations with 100% accuracy; replace filter driers using flare fittings and sweat fittings, then triple evacuate to eliminate any moisture with 100% accuracy; correlate temperature to pressure; evaluate and integrate use of test instruments; and assess and integrate use of specialized tools. The student can independently solve problems and is self-directed. | The student demonstrates competent and proficient performance and shows a thorough and effective application of knowledge and skills that meet the standard in compression refrigeration. The student can categorize and label components of compression refrigeration systems; analyze the effect of CFC on ozone atmosphere; install access fittings on a hermetic sealed system with 85% accuracy; recover refrigerant, locate and repair leaks, pressurize, leak test, evacuate, and charge refrigerant with 85% accuracy; install manifold gauges on refrigeration systems and use a P/T chart to test compressor operations with 85% accuracy; replace filter driers using flare fittings and sweat fittings, then triple evacuate to eliminate any moisture with 85% accuracy; verify temperature to pressure; generalize and integrate use of test instruments; and illustrate and integrate use of specialized tools. Application of knowledge and skills is thorough and effective, and the student can work independently. | The student demonstrates basic but inconsistent performance of fundamental knowledge and skills characterized by errors and/or omissions in compression refrigeration. The student can locate and label components of compression refrigeration systems; explain the effect of CFC on ozone atmosphere; install access fittings on a hermetic sealed system with 70% accuracy; recover refrigerant, locate and repair leaks, pressurize, leak test, evacuate, and charge refrigerant with 70% accuracy; install manifold gauges on refrigeration systems and use a P/T chart to test compressor operations with 70% accuracy; replace filter driers using flare fittings and sweat fittings, then triple evacuate to eliminate any moisture with 70% accuracy; determine temperature to pressure; identify and integrate use of test instruments; and identify and integrate use of specialized tools. Performance needs further development and supervision. |
| Standard: 5 | Participating in the Student Organization |
| ET.S.FACR.5 | Students will participate in a local student organization |
| Objectives | Students will |
| ET.O.FACR.5.1 | examine the purposes and goals of student organizations. |
| ET.O.FACR.5.2 | demonstrate leadership skills through participation in student organization activities such as meetings, programs, projects, and competitions. |
| ET.O.FACR.5.3 | discover the benefits and responsibilities of participation in student, professional, and civic organizations as an adult. |
| Performance Descriptors (ET.PD.FACR.5) |
| Above Mastery | Mastery | Partial Mastery |
| The student demonstrates exceptional and exemplary performance with distinctive and sophisticated application of knowledge and skills that exceed the standard in participating in the student organization. The student can critique the purposes and goals of student and professional organizations; assess the leadership skills gained through participation in student organization activities such as meetings, programs, projects, and competitions; and analyze the benefits and responsibilities of participation in student, professional, and civic organization as an adult. The student can independently solve problems and is self-directed. | The student demonstrates competent and proficient performance and shows a thorough and effective application of knowledge and skills that meet the standard in participating in the student organization. The student can examine the purposes and goals of student and professional organizations; demonstrate leadership skills through participation in student organization activities such as meetings, programs, projects, and competitions; and discover the benefits and responsibilities of participation in student, professional, and civic organization as an adult. Application of knowledge and skills is thorough and effective, and the student can work independently. | The student demonstrates basic but inconsistent performance of fundamental knowledge and skills characterized by errors and/or omissions in participating in the student organization. The student can list the purposes and goals of student and professional organizations; describe the leadership skills gained through participation in student organization activities such as meetings, programs, projects, and competitions; and list the benefits and responsibilities of participation in student, professional, and civic organization as an adult. Performance needs further development and supervision. |
| Standard: 6 | Literacy and Numeracy |
| ET.S.FACR.6 | Students will demonstrate the literacy and numeracy skills required to solve complex, real-world problems associated with their career/technical content area and improve their thinking and reasoning skills. |
| Objectives | Students will |
| ET.O.FACR.6.1 | utilize a variety of technical sources (e.g., Internet, manuals, journals, directions, reports, etc.) to complete career/technical assignments and projects. |
| ET.O.FACR.6.2 | demonstrate writing skills required to complete career/technical assignments and projects. |
| ET.O.FACR.6.3 | demonstrate accuracy in calculating and measuring graphical work required to complete career/technical assignments and projects. |
| ET.O.FACR.6.4 | analyze tables, charts, graphs and multiple data sources to complete career/technical assignments and projects. |
| Performance Descriptors (ET.PD.FACR.6) |
| Above Mastery | Mastery | Partial Mastery |
| The student demonstrates exceptional and exemplary performance with distinctive and sophisticated application of knowledge and skills that exceed the standard in literacy and numeracy. The student chooses a variety of technical sources (e.g., Internet, manuals, journals, directions, reports, etc.) to complete career/technical assignments and projects; performs writing skills required to complete career/technical assignments and projects; communicates accuracy in calculating and measuring graphical work required to complete career/technical assignments and projects; and evaluates tables, charts, graphs and multiple data sources to complete career/technical assignments and projects. The student can independently solve problems and is self-directed. | The student demonstrates competent and proficient performance and shows a thorough and effective application of knowledge and skills that meet the standard in literacy and numeracy. The student utilizes a variety of technical sources (e.g., Internet, manuals, journals, directions, reports, etc.) to complete career/technical assignments and projects; demonstrates writing skills required to complete career/technical assignments and projects; demonstrates accuracy in calculating and measuring graphical work required to complete career/technical assignments and projects; and analyzes tables, charts, graphs and multiple data sources to complete career/technical assignments and projects. Application of knowledge and skills is thorough and effective and the student can work independently. | The student demonstrates basic but inconsistent performance of fundamental knowledge and skills characterized by errors and/or omissions in literacy and numeracy. The student selects a variety of technical sources (e.g., Internet, manuals, journals, directions, reports, etc.) to complete career/technical assignments and projects; reproduces writing skills required to complete career/technical assignments and projects; illustrates accuracy in calculating and measuring graphical work required to complete career/technical assignments and projects; and explains tables, charts, graphs and multiple data sources to complete career/technical assignments and projects. Performance needs further development and supervision. |
| Standard: 7 | 21st Century Learning Skills |
| ET.S.FACR.7 | The student will access and manipulate information for use in oral, written, or multimedia format using appropriate technology skills. apply sound reasoning processes to solve complex real-world problems and develop new ideas. exhibit leadership and ethical behavior in planning and executing tasks, as an individual or a group member. |
| Objectives | Students will |
| ET.O.FACR.7.1 | search online using a range of technology tools and media to access relevant information needed for problem solving. |
| ET.O.FACR.7.2 | create information for oral, written, and multimedia communications, adhering to copyright laws. |
| ET.O.FACR.7.3 | engage in problem solving and critical thinking processes to create and evaluate complex strategies in order to independently solve problems. |
| ET.O.FACR.7.4 | adapt to new situations by considering multiple perspectives and a commitment to continued learning. |
| ET.O.FACR.7.5 | exhibit ethical behavior and positive leadership while working collaboratively in the school and/or community. |
| ET.O.FACR.7.6 | model legal and ethical behaviors in the use of technology. |
| Performance Descriptors (ET.PD.FACR.7) |
| Above Mastery | Mastery | Partial Mastery |
| The student demonstrates exceptional and exemplary performance with distinctive and sophisticated application of knowledge and skills that exceed the standard in 21st century learning skills. The student assesses online technology tools and media to access relevant information needed for problem solving; critiques information for oral, written, and multimedia communications, adhering to copyright laws; integrates problem solving and critical thinking processes to create and evaluate complex strategies in order to independently solve problems; interprets new situations by considering multiple perspectives and a commitment to continued learning; incorporates ethical behavior and positive leadership while working collaboratively in the school and/or community; and reinforces legal and ethical behaviors in the use of technology. The student can independently solve problems and is self-directed. | The student demonstrates competent and proficient performance and shows a thorough and effective application of knowledge and skills that meet the standard in 21st century learning skills. The student searches online using a range of technology tools and media to access relevant information needed for problem solving; creates information for oral, written, and multimedia communications, adhering to copyright laws; engages in problem solving and critical thinking processes to create and evaluate complex strategies in order to independently solve problems; adapts to new situations by considering multiple perspectives and a commitment to continued learning; exhibits ethical behavior and positive leadership while working collaboratively in the school and/or community; and models legal and ethical behaviors in the use of technology. Application of knowledge and skills is thorough and effective and the student can work independently. | The student demonstrates basic but inconsistent performance of fundamental knowledge and skills characterized by errors and/or omissions in 21st century learning skills. The student explains online technology tools and media to access relevant information needed for problem solving; identifies information for oral, written, and multimedia communications, adhering to copyright laws; discusses problem solving and critical thinking processes to create and evaluate complex strategies in order to independently solve problems; discusses new situations by considering multiple perspectives and a commitment to continued learning; reviews ethical behavior and positive leadership while working collaboratively in the school and/or community; and describes legal and ethical behaviors in the use of technology. Performance needs further development and supervision. |
| Standard: 8 | Entrepreneurship Skills |
| ET.S.FACR.8 | Students will access the opportunities, concepts, processes, and personal traits/behaviors associated with successful entrepreneurial performance. |
| Objectives | Students will |
| ET.O.FACR 8.1 | assess global trends in entrepreneurship that are related to their career/technical program. |
| ET.O.FACR.8.2 | determine entrepreneurial opportunities in venture creation related to their career/technical program. |
| ET.O.FACR.8.3 | examine desirable entrepreneurial personality traits. |
| Performance Descriptors (ET.PD.FACR.8) |
| Above Mastery | Mastery | Partial Mastery |
| The student demonstrates exceptional and exemplary performance with distinctive and sophisticated application of knowledge and skills that exceed the standard in entrepreneurship skills. The student critiques global trends in entrepreneurship that are related to their career/technical program; evaluates entrepreneurial opportunities in venture creation related to their career/technical program; and assesses desirable entrepreneurial personality traits. The student can independently solve problems and is self-directed. | The student demonstrates competent and proficient performance and shows a thorough and effective application of knowledge and skills that meet the standard in entrepreneurship skills. The student assesses global trends in entrepreneurship that are related to their career/technical program; determines entrepreneurial opportunities in venture creation related to their career/technical program; and examines desirable entrepreneurial personality traits. Application of knowledge and skills is thorough and effective and the student can work independently. | The student demonstrates basic but inconsistent performance of fundamental knowledge and skills characterized by errors and/or omissions in entrepreneurship skills. The student lists global trends in entrepreneurship that are related to their career/technical program; describes entrepreneurial opportunities in venture creation related to their career/technical program; and identifies desirable entrepreneurial personality traits. Performance needs further development and supervision. |